## data template
No. | timestamp | bldg_cons_gri | ef_ele | bldg_gen_org | bldg_cons_gas | cf_gas | ef_gas | bldg_cons_die | cf_die | ef_die | bldg_cons_dce | cf_dce | bldg_cons_oes | ef_oth
1 | 2023-01-01 |  | 0.4085 |  |  | 10 | 1.87 |  | 11 | 2.69 |  | 0.68 |  | 0.4085
2 | 2023-02-01 |  | 0.4085 |  |  | 10 | 1.87 |  | 11 | 2.69 |  | 0.68 |  | 0.4085
3 | 2023-03-01 |  | 0.4085 |  |  | 10 | 1.87 |  | 11 | 2.69 |  | 0.68 |  | 0.4085
4 | 2023-04-01 |  | 0.4085 |  |  | 10 | 1.87 |  | 11 | 2.69 |  | 0.68 |  | 0.4085
5 | 2023-05-01 |  | 0.4085 |  |  | 10 | 1.87 |  | 11 | 2.69 |  | 0.68 |  | 0.4085
6 | … |  | 0.4085 |  |  | 10 | 1.87 |  | 11 | 2.69 |  | 0.68 |  | 0.4085

## column description
No. | Column Name | Format | Data Term | Description | Unit
1 | timestamp | mm/yy | - | - | -
2 | bldg_cons_gri | - | Building Energy Consumption | The total electricity consumption (not offset by the on-site renewable ) | MWh
3 | ef_ele | - | Emission Factor of Electricity | Emission Factor of Electricity | ton/MWh
4 | bldg_gen_org | - | On-site Renewable Energy Generation | The total on-site renewable energy generated by the building | MWh
5 | bldg_cons_gas | - | Gas Consumption | The total gas consumption | m3
6 | cf_gas | - | Conversion Factor of Gas | Conversion Factor of Gas | kWh/m3
7 | ef_gas | - | Emission Factor of Gas | Emission Factor of Gas | kg/m3
8 | bldg_cons_die | - | Diesel Consumption | The total diesel consumption | liter
9 | cf_die | - | Conversion Factor of Diesel | Conversion Factor of Diesel | kWh/liter
10 | ef_die | - | Emission Factor of Diesel | Emission Factor of Diesel | kg/liter
11 | bldg_cons_dce | - | District Cooling Energy Consumption | The total district cooling | RTh
12 | cf_dce | - | Conversion Factor of Cooling Energy | Conversion Factor of Cooling Energy | kW/RT
13 | bldg_cons_oes | - | Other Energy Sources | The total other energy sources | MWh
14 | ef_oth | - | Emission Factor of Other Energy Sources | Emission Factor of Other Energy Sources | ton/MWh